## Sheet1
All Results in Recalc File's Data Files
Recalc File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\xxx_batch 1 diluted.rcl
Method File: | C:\deidentified\methods\temporary method save\New column_mixall method_19711103.mth
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\0.5_1_11-03-1971_8-44-22 PM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\0.5_2_11-03-1971_9-19-43 PM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\1_1_11-03-1971_9-55-03 PM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\1_2_11-03-1971_10-30-25 PM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\2_1_11-03-1971_11-05-46 PM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\2_2_11-03-1971_11-41-09 PM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\5_1_11-03-1971_12-16-31 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\5_2_11-03-1971_12-51-55 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\10_1_11-03-1971_1-27-17 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\10_2_11-03-1971_2-02-39 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\25_1_11-03-1971_3-48-51 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\25_2_11-03-1971_4-24-11 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\50_0.5_1_11-03-1971_4-59-30 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\50_0.5_2_11-03-1971_5-34-52 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\50_1_1_11-03-1971_6-10-14 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\50_1_2_11-03-1971_6-45-33 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\100_1_11-03-1971_7-20-56 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\100_2_11-03-1971_7-56-17 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\150_1_11-03-1971_8-31-38 AM.xms
Data File: | c:\deidentified\data\Calibration\19711103_calibration_mixall\150_2_11-03-1971_9-07-00 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\C11-3M_11-03-1971_3-25-55 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\C12-5M_11-03-1971_4-36-53 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\C13-3M_11-03-1971_9-31-13 PM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\C14-1M_11-03-1971_5-12-22 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\C15-3M_11-03-1971_2-50-30 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\C17-3M_11-03-1971_6-23-18 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\C18-3M_11-03-1971_5-47-50 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\C19-1M_11-03-1971_11-17-34 PM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\C20-1M_11-03-1971_10-42-07 PM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\C20-5M_11-03-1971_1-04-00 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\S11-3M_11-03-1971_6-58-47 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\S17-1M_11-03-1971_8-55-44 PM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\S18-5M_11-03-1971_4-01-23 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\S18-BL_11-03-1971_12-28-33 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\S19-5M_11-03-1971_10-06-41 PM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\S20-BL_11-03-1971_11-53-03 PM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\H2O_11-03-1971_7-09-09 PM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\MC150_1_11-03-1971_7-44-40 PM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\MC150_2_11-03-1971_1-39-30 AM.xms
Data File: | c:\deidentified\data\x xxx xxx\19711103_x_xxx_batch_1_diluted\MC150_3_11-03-1971_7-34-16 AM.xms
---------------------------------------
Target Compounds
---------------------------------------
Peaks 4000( | Data File | RT (min) | Peak Name | Area | Amt | Calib Amt | S/N-RMS | )
| 0.5_1_11-03-1971_8-44-22 PM.xms | 11.731 | 2 methyl acetoacetate di TMS | 5545000 | 0.841 | 0.5 | 10260
| 0.5_2_11-03-1971_9-19-43 PM.xms | 11.724 | 2 methyl acetoacetate di TMS | 4397000 | 0.874 | 0.5 | 7749
| 1_1_11-03-1971_9-55-03 PM.xms | 11.734 | 2 methyl acetoacetate di TMS | 4665000 | 1.06 | 1 | 9007
| 1_2_11-03-1971_10-30-25 PM.xms | 11.717 | 2 methyl acetoacetate di TMS | 3696000 | --- | 1 | 10092
| 2_1_11-03-1971_11-05-46 PM.xms | 11.766 | 2 methyl acetoacetate di TMS | 4942000 | 1.267 | 2 | 6024
| 2_2_11-03-1971_11-41-09 PM.xms | 11.72 | 2 methyl acetoacetate di TMS | 5527000 | 1.593 | 2 | 9052
| 5_1_11-03-1971_12-16-31 AM.xms | 11.736 | 2 methyl acetoacetate di TMS | 8487000 | 4.685 | 5 | 6416
| 5_2_11-03-1971_12-51-55 AM.xms | 11.764 | 2 methyl acetoacetate di TMS | 8719000 | 4.742 | 5 | 10608
| 10_1_11-03-1971_1-27-17 AM.xms | 11.719 | 2 methyl acetoacetate di TMS | 13180000 | 12.15 | 10 | 17794
| 10_2_11-03-1971_2-02-39 AM.xms | 11.731 | 2 methyl acetoacetate di TMS | 13310000 | 9.893 | 10 | 8907
| 25_1_11-03-1971_3-48-51 AM.xms | 11.756 | 2 methyl acetoacetate di TMS | 24640000 | 26.792 | 25 | 15061
| 25_2_11-03-1971_4-24-11 AM.xms | 11.752 | 2 methyl acetoacetate di TMS | 27300000 | 25.96 | 25 | 15715
| 50_0.5_1_11-03-1971_4-59-30 AM.xms | 11.78 | 2 methyl acetoacetate di TMS | 22040000 | 48.71 | 50 | 24309
| 50_0.5_2_11-03-1971_5-34-52 AM.xms | 11.775 | 2 methyl acetoacetate di TMS | 23240000 | 53.269 | 50 | 17711
| 50_1_1_11-03-1971_6-10-14 AM.xms | 11.761 | 2 methyl acetoacetate di TMS | 33230000 | 46.491 | 50 | 24191
| 50_1_2_11-03-1971_6-45-33 AM.xms | 11.774 | 2 methyl acetoacetate di TMS | 44100000 | 50.315 | 50 | 8132
| 100_1_11-03-1971_7-20-56 AM.xms | 11.79 | 2 methyl acetoacetate di TMS | 41670000 | 104.057 | 100 | 21393
| 100_2_11-03-1971_7-56-17 AM.xms | 11.786 | 2 methyl acetoacetate di TMS | 35450000 | 106.234 | 100 | 11111
| 150_1_11-03-1971_8-31-38 AM.xms | 11.8 | 2 methyl acetoacetate di TMS | 52060000 | 148.701 | 150 | 19444
| 150_2_11-03-1971_9-07-00 AM.xms | 11.79 | 2 methyl acetoacetate di TMS | 50760000 | 138.888 | 150 | 24230
C11-3M | C11-3M_11-03-1971_3-25-55 AM.xms | 11.783 | 2 methyl acetoacetate di TMS | 2792000 | 27.678 | --- | 4238
C12-5M | C12-5M_11-03-1971_4-36-53 AM.xms | 11.773 | 2 methyl acetoacetate di TMS | 1191000 | 9.42 | --- | 2439
C13-3M | C13-3M_11-03-1971_9-31-13 PM.xms | 11.798 | 2 methyl acetoacetate di TMS | 3179000 | 131.96 | --- | 1899
C14-1M | C14-1M_11-03-1971_5-12-22 AM.xms | 11.795 | 2 methyl acetoacetate di TMS | 2045000 | 32.812 | --- | 3408
C15-3M | C15-3M_11-03-1971_2-50-30 AM.xms | 11.754 | 2 methyl acetoacetate di TMS | 2436000 | 24.028 | --- | 4419
C17-3M | C17-3M_11-03-1971_6-23-18 AM.xms | 11.788 | 2 methyl acetoacetate di TMS | 3224000 | 39.118 | --- | 3914
C18-3M | C18-3M_11-03-1971_5-47-50 AM.xms | 11.785 | 2 methyl acetoacetate di TMS | 3656000 | 35.299 | --- | 4669
C19-1M | C19-1M_11-03-1971_11-17-34 PM.xms | 11.779 | 2 methyl acetoacetate di TMS | 3924000 | 35.157 | --- | 2545
C20-1M | C20-1M_11-03-1971_10-42-07 PM.xms | 11.785 | 2 methyl acetoacetate di TMS | 3696000 | 37.576 | --- | 2617
C20-5M | C20-5M_11-03-1971_1-04-00 AM.xms | 11.744 | 2 methyl acetoacetate di TMS | 1086000 | 18.18 | --- | 1003
S11-3M | S11-3M_11-03-1971_6-58-47 AM.xms | 11.782 | 2 methyl acetoacetate di TMS | 1076000 | 17.116 | --- | 1318
S17-1M | S17-1M_11-03-1971_8-55-44 PM.xms | 11.781 | 2 methyl acetoacetate di TMS | 2349000 | 82.704 | --- | 1888
S18-5M | S18-5M_11-03-1971_4-01-23 AM.xms | 11.745 | 2 methyl acetoacetate di TMS | 1337000 | 13.001 | --- | 1018
S18-BL | S18-BL_11-03-1971_12-28-33 AM.xms | 11.772 | 2 methyl acetoacetate di TMS | 1947000 | 32.572 | --- | 1696
S19-5M | S19-5M_11-03-1971_10-06-41 PM.xms | 11.781 | 2 methyl acetoacetate di TMS | 1552000 | 12.119 | --- | 1309
S20-BL | S20-BL_11-03-1971_11-53-03 PM.xms | 11.776 | 2 methyl acetoacetate di TMS | 4450000 | 43.307 | --- | 4106
H20-1 | H2O_11-03-1971_7-09-09 PM.xms | 11.724 | 2 methyl acetoacetate di TMS | 1583000 | N/A | --- | 6502
MC150-1 | MC150_1_11-03-1971_7-44-40 PM.xms | 11.728 | 2 methyl acetoacetate di TMS | 921572 | 0.246 | --- | 5516
MC150-2 | MC150_2_11-03-1971_1-39-30 AM.xms | 11.712 | 2 methyl acetoacetate di TMS | 805465 | 0.707 | --- | 4015
Mc150-3 | MC150_3_11-03-1971_7-34-16 AM.xms | 11.714 | 2 methyl acetoacetate di TMS | 698478 | 0.913 | --- | 4673
| 0.5_1_11-03-1971_8-44-22 PM.xms | 12.585 | 2 Oxo Caproic anti IS | 212900000 | 1 | 1 | 129406
| 0.5_2_11-03-1971_9-19-43 PM.xms | 12.561 | 2 Oxo Caproic anti IS | 154000000 | 1 | 1 | 112771
| 1_1_11-03-1971_9-55-03 PM.xms | 12.589 | 2 Oxo Caproic anti IS | 166200000 | 1 | 1 | 171427
| 1_2_11-03-1971_10-30-25 PM.xms | 12.572 | 2 Oxo Caproic anti IS | 164500000 | 1 | 1 | 82272
| 2_1_11-03-1971_11-05-46 PM.xms | 12.613 | 2 Oxo Caproic anti IS | 159500000 | 1 | 1 | 157867
| 2_2_11-03-1971_11-41-09 PM.xms | 12.57 | 2 Oxo Caproic anti IS | 181200000 | 1 | 1 | 166517
| 5_1_11-03-1971_12-16-31 AM.xms | 12.594 | 2 Oxo Caproic anti IS | 191900000 | 1 | 1 | 205486
| 5_2_11-03-1971_12-51-55 AM.xms | 12.639 | 2 Oxo Caproic anti IS | 211900000 | 1 | 1 | 152703
| 10_1_11-03-1971_1-27-17 AM.xms | 12.559 | 2 Oxo Caproic anti IS | 144300000 | 1 | 1 | 121814
| 10_2_11-03-1971_2-02-39 AM.xms | 12.565 | 2 Oxo Caproic anti IS | 176100000 | 1 | 1 | 182287
| 25_1_11-03-1971_3-48-51 AM.xms | 12.615 | 2 Oxo Caproic anti IS | 149800000 | 1 | 1 | 52278
| 25_2_11-03-1971_4-24-11 AM.xms | 12.612 | 2 Oxo Caproic anti IS | 154600000 | 1 | 1 | 66269
| 50_0.5_1_11-03-1971_4-59-30 AM.xms | 12.592 | 2 Oxo Caproic anti IS | 64850000 | 1 | 1 | 43228
| 50_0.5_2_11-03-1971_5-34-52 AM.xms | 12.588 | 2 Oxo Caproic anti IS | 67100000 | 1 | 1 | 40391
| 50_1_1_11-03-1971_6-10-14 AM.xms | 12.612 | 2 Oxo Caproic anti IS | 92520000 | 1 | 1 | 37631
| 50_1_2_11-03-1971_6-45-33 AM.xms | 12.6 | 2 Oxo Caproic anti IS | 135500000 | 1 | 1 | 74468
| 100_1_11-03-1971_7-20-56 AM.xms | 12.615 | 2 Oxo Caproic anti IS | 58460000 | 1 | 1 | 19365
| 100_2_11-03-1971_7-56-17 AM.xms | 12.6 | 2 Oxo Caproic anti IS | 46110000 | 1 | 1 | 21688
| 150_1_11-03-1971_8-31-38 AM.xms | 12.598 | 2 Oxo Caproic anti IS | 55990000 | 1 | 1 | 27387
| 150_2_11-03-1971_9-07-00 AM.xms | 12.597 | 2 Oxo Caproic anti IS | 53990000 | 1 | 1 | 24906
| C11-3M_11-03-1971_3-25-55 AM.xms | 12.544 | 2 Oxo Caproic anti IS | 20660000 | 1 | --- | 14055
| C12-5M_11-03-1971_4-36-53 AM.xms | 12.543 | 2 Oxo Caproic anti IS | 19840000 | 1 | --- | 13428
| C13-3M_11-03-1971_9-31-13 PM.xms | 12.553 | 2 Oxo Caproic anti IS | 17950000 | 1 | --- | 7109
| C14-1M_11-03-1971_5-12-22 AM.xms | 12.569 | 2 Oxo Caproic anti IS | 13970000 | 1 | --- | 12659
| C15-3M_11-03-1971_2-50-30 AM.xms | 12.579 | 2 Oxo Caproic anti IS | 19680000 | 1 | --- | 15232
| C17-3M_11-03-1971_6-23-18 AM.xms | 12.549 | 2 Oxo Caproic anti IS | 18150000 | 1 | --- | 19905
| C18-3M_11-03-1971_5-47-50 AM.xms | 12.555 | 2 Oxo Caproic anti IS | 21330000 | 1 | --- | 12965
| C19-1M_11-03-1971_11-17-34 PM.xms | 12.551 | 2 Oxo Caproic anti IS | 21440000 | 1 | --- | 13282
| C20-1M_11-03-1971_10-42-07 PM.xms | 12.55 | 2 Oxo Caproic anti IS | 19250000 | 1 | --- | 6462
| C20-5M_11-03-1971_1-04-00 AM.xms | 12.579 | 2 Oxo Caproic anti IS | 14900000 | 1 | --- | 12997
| S11-3M_11-03-1971_6-58-47 AM.xms | 12.549 | 2 Oxo Caproic anti IS | 12170000 | 1 | --- | 17384
| S17-1M_11-03-1971_8-55-44 PM.xms | 12.553 | 2 Oxo Caproic anti IS | 20120000 | 1 | --- | 10545
| S18-5M_11-03-1971_4-01-23 AM.xms | 12.525 | 2 Oxo Caproic anti IS | 16210000 | 1 | --- | 7512
| S18-BL_11-03-1971_12-28-33 AM.xms | 12.535 | 2 Oxo Caproic anti IS | 20570000 | 1 | --- | 13433
| S19-5M_11-03-1971_10-06-41 PM.xms | 12.554 | 2 Oxo Caproic anti IS | 21250000 | 1 | --- | 8077
| S20-BL_11-03-1971_11-53-03 PM.xms | 12.546 | 2 Oxo Caproic anti IS | 21780000 | 1 | --- | 14455
| H2O_11-03-1971_7-09-09 PM.xms | 12.567 | 2 Oxo Caproic anti IS | 71470000 | 1 | --- | 114113
| MC150_1_11-03-1971_7-44-40 PM.xms | 12.557 | 2 Oxo Caproic anti IS | 51680000 | 1 | --- | 47135
| MC150_2_11-03-1971_1-39-30 AM.xms | 12.552 | 2 Oxo Caproic anti IS | 47080000 | 1 | --- | 57658
| MC150_3_11-03-1971_7-34-16 AM.xms | 12.557 | 2 Oxo Caproic anti IS | 39980000 | 1 | --- | 65357
| 0.5_1_11-03-1971_8-44-22 PM.xms | 6.969 | 2Et 3OH Propionate Di TMS | 803790 | 0.485 | 0.5 | 6244
| 0.5_2_11-03-1971_9-19-43 PM.xms | 6.962 | 2Et 3OH Propionate Di TMS | 591858 | 0.456 | 0.5 | 4563
| 1_1_11-03-1971_9-55-03 PM.xms | 6.967 | 2Et 3OH Propionate Di TMS | 1662000 | 1.188 | 1 | 10736
| 1_2_11-03-1971_10-30-25 PM.xms | 6.964 | 2Et 3OH Propionate Di TMS | 1479000 | 1.044 | 1 | 10530
| 2_1_11-03-1971_11-05-46 PM.xms | 6.966 | 2Et 3OH Propionate Di TMS | 2600000 | 1.803 | 2 | 13550
| 2_2_11-03-1971_11-41-09 PM.xms | 6.972 | 2Et 3OH Propionate Di TMS | 3016000 | 1.976 | 2 | 18555
| 5_1_11-03-1971_12-16-31 AM.xms | 6.971 | 2Et 3OH Propionate Di TMS | 6822000 | 4.392 | 5 | 37306
| 5_2_11-03-1971_12-51-55 AM.xms | 6.969 | 2Et 3OH Propionate Di TMS | 7621000 | 4.803 | 5 | 28543
| 10_1_11-03-1971_1-27-17 AM.xms | 6.974 | 2Et 3OH Propionate Di TMS | 13820000 | 10.434 | 10 | 50767
| 10_2_11-03-1971_2-02-39 AM.xms | 6.967 | 2Et 3OH Propionate Di TMS | 16640000 | 10.736 | 10 | 51576
| 25_1_11-03-1971_3-48-51 AM.xms | 6.975 | 2Et 3OH Propionate Di TMS | 37100000 | 28.262 | 25 | 189383
| 25_2_11-03-1971_4-24-11 AM.xms | 6.978 | 2Et 3OH Propionate Di TMS | 39430000 | 26.375 | 25 | 129866
| 50_0.5_1_11-03-1971_4-59-30 AM.xms | 6.953 | 2Et 3OH Propionate Di TMS | 25830000 | 37.488 | 50 | 106394
| 50_0.5_2_11-03-1971_5-34-52 AM.xms | 6.952 | 2Et 3OH Propionate Di TMS | 29990000 | 44.819 | 50 | 88976
| 50_1_1_11-03-1971_6-10-14 AM.xms | 6.975 | 2Et 3OH Propionate Di TMS | 46780000 | 43.134 | 50 | 179612
| 50_1_2_11-03-1971_6-45-33 AM.xms | 6.98 | 2Et 3OH Propionate Di TMS | 73930000 | 55.217 | 50 | 481565
| 100_1_11-03-1971_7-20-56 AM.xms | 6.953 | 2Et 3OH Propionate Di TMS | 65500000 | 102.69 | 100 | 126457
| 100_2_11-03-1971_7-56-17 AM.xms | 6.955 | 2Et 3OH Propionate Di TMS | 54270000 | 102.026 | 100 | 131734
| 150_1_11-03-1971_8-31-38 AM.xms | 6.961 | 2Et 3OH Propionate Di TMS | 122600000 | --- | 150 | ---
| 150_2_11-03-1971_9-07-00 AM.xms | 6.962 | 2Et 3OH Propionate Di TMS | 125100000 | --- | 150 | ---
| C11-3M_11-03-1971_3-25-55 AM.xms | 6.921 | 2Et 3OH Propionate Di TMS | 861857 | 5.985 | --- | 5012
| C12-5M_11-03-1971_4-36-53 AM.xms | 6.923 | 2Et 3OH Propionate Di TMS | 922307 | 6.441 | --- | 6239
| C13-3M_11-03-1971_9-31-13 PM.xms | 6.923 | 2Et 3OH Propionate Di TMS | 489977 | 12.691 | --- | 1775
| C14-1M_11-03-1971_5-12-22 AM.xms | 6.923 | 2Et 3OH Propionate Di TMS | 691944 | 7.605 | --- | 4266
| C15-3M_11-03-1971_2-50-30 AM.xms | 6.921 | 2Et 3OH Propionate Di TMS | 614972 | 4.347 | --- | 4888
| C17-3M_11-03-1971_6-23-18 AM.xms | 6.927 | 2Et 3OH Propionate Di TMS | 576508 | 4.716 | --- | 5937
| C18-3M_11-03-1971_5-47-50 AM.xms | 6.928 | 2Et 3OH Propionate Di TMS | 679231 | 4.47 | --- | 5060
| C19-1M_11-03-1971_11-17-34 PM.xms | 6.919 | 2Et 3OH Propionate Di TMS | 454880 | 2.793 | --- | 2643
| C20-1M_11-03-1971_10-42-07 PM.xms | 6.912 | 2Et 3OH Propionate Di TMS | 515751 | 3.558 | --- | 2668
| C20-5M_11-03-1971_1-04-00 AM.xms | 6.92 | 2Et 3OH Propionate Di TMS | 254345 | 3.208 | --- | 1787
| S11-3M_11-03-1971_6-58-47 AM.xms | 6.924 | 2Et 3OH Propionate Di TMS | 132864 | 1.631 | --- | 1508
| S17-1M_11-03-1971_8-55-44 PM.xms | 6.921 | 2Et 3OH Propionate Di TMS | 668462 | 14.96 | --- | 4694
| S18-5M_11-03-1971_4-01-23 AM.xms | 6.927 | 2Et 3OH Propionate Di TMS | 978936 | 7.675 | --- | 6733
| S18-BL_11-03-1971_12-28-33 AM.xms | 6.915 | 2Et 3OH Propionate Di TMS | 413512 | 4.756 | --- | 2216
| S19-5M_11-03-1971_10-06-41 PM.xms | 6.92 | 2Et 3OH Propionate Di TMS | 1173000 | 7.517 | --- | 9708
| S20-BL_11-03-1971_11-53-03 PM.xms | 6.918 | 2Et 3OH Propionate Di TMS | 543810 | 3.542 | --- | 7593
| H2O_11-03-1971_7-09-09 PM.xms | 6.951 | 2Et 3OH Propionate Di TMS | 24251 | 0.069 | --- | 225
| MC150_1_11-03-1971_7-44-40 PM.xms | 6.951 | 2Et 3OH Propionate Di TMS | 3972000 | 11.865 | --- | 26146
| MC150_2_11-03-1971_1-39-30 AM.xms | 6.951 | 2Et 3OH Propionate Di TMS | 2770000 | 10.432 | --- | 17396
| MC150_3_11-03-1971_7-34-16 AM.xms | 6.949 | 2Et 3OH Propionate Di TMS | 2425000 | 10.963 | --- | 30280
| 0.5_1_11-03-1971_8-44-22 PM.xms | 11.334 | 2-hydroxyglutaric Acid Tri TMS | 2138000 | 0.735 | 0.5 | 12104
| 0.5_2_11-03-1971_9-19-43 PM.xms | 11.32 | 2-hydroxyglutaric Acid Tri TMS | 2077000 | 0.759 | 0.5 | 8580
| 1_1_11-03-1971_9-55-03 PM.xms | 11.331 | 2-hydroxyglutaric Acid Tri TMS | 2914000 | 0.979 | 1 | 11442
| 1_2_11-03-1971_10-30-25 PM.xms | 11.331 | 2-hydroxyglutaric Acid Tri TMS | 2804000 | 0.953 | 1 | 10565
| 2_1_11-03-1971_11-05-46 PM.xms | 11.37 | 2-hydroxyglutaric Acid Tri TMS | 6393000 | 1.632 | 2 | 36335
| 2_2_11-03-1971_11-41-09 PM.xms | 11.343 | 2-hydroxyglutaric Acid Tri TMS | 6736000 | 1.643 | 2 | 33608
| 5_1_11-03-1971_12-16-31 AM.xms | 11.351 | 2-hydroxyglutaric Acid Tri TMS | 15630000 | 3.558 | 5 | 52121
| 5_2_11-03-1971_12-51-55 AM.xms | 11.358 | 2-hydroxyglutaric Acid Tri TMS | 15300000 | 3.6 | 5 | 69763
| 10_1_11-03-1971_1-27-17 AM.xms | 11.338 | 2-hydroxyglutaric Acid Tri TMS | 29860000 | 7.941 | 10 | 115775
| 10_2_11-03-1971_2-02-39 AM.xms | 11.339 | 2-hydroxyglutaric Acid Tri TMS | 27960000 | 7.228 | 10 | 80057
| 25_1_11-03-1971_3-48-51 AM.xms | 11.358 | 2-hydroxyglutaric Acid Tri TMS | 172600000 | 29.887 | 25 | 465174
| 25_2_11-03-1971_4-24-11 AM.xms | 11.333 | 2-hydroxyglutaric Acid Tri TMS | 176000000 | 28.024 | 25 | 461551
| 50_0.5_1_11-03-1971_4-59-30 AM.xms | 11.357 | 2-hydroxyglutaric Acid Tri TMS | 204500000 | 58.545 | 50 | 475536
| 50_0.5_2_11-03-1971_5-34-52 AM.xms | 11.354 | 2-hydroxyglutaric Acid Tri TMS | 199100000 | 59.068 | 50 | 530126
| 50_1_1_11-03-1971_6-10-14 AM.xms | 11.359 | 2-hydroxyglutaric Acid Tri TMS | 276900000 | 54.808 | 50 | 532548
| 50_1_2_11-03-1971_6-45-33 AM.xms | 11.375 | 2-hydroxyglutaric Acid Tri TMS | 300000000 | 49.696 | 50 | 396376
| 100_1_11-03-1971_7-20-56 AM.xms | 11.374 | 2-hydroxyglutaric Acid Tri TMS | 314900000 | 102.423 | 100 | 717005
| 100_2_11-03-1971_7-56-17 AM.xms | 11.378 | 2-hydroxyglutaric Acid Tri TMS | 283500000 | 106.014 | 100 | 821455
| 150_1_11-03-1971_8-31-38 AM.xms | 11.391 | 2-hydroxyglutaric Acid Tri TMS | 358300000 | 142.05 | 150 | 901246
| 150_2_11-03-1971_9-07-00 AM.xms | 11.394 | 2-hydroxyglutaric Acid Tri TMS | 342700000 | 138.516 | 150 | 445936
| C11-3M_11-03-1971_3-25-55 AM.xms | 11.335 | 2-hydroxyglutaric Acid Tri TMS | 336200000 | 516.581 | --- | 337299
| C12-5M_11-03-1971_4-36-53 AM.xms | 11.337 | 2-hydroxyglutaric Acid Tri TMS | 323300000 | 532.047 | --- | 683562
| C13-3M_11-03-1971_9-31-13 PM.xms | 11.348 | 2-hydroxyglutaric Acid Tri TMS | 383200000 | 438.021 | --- | 255076
| C14-1M_11-03-1971_5-12-22 AM.xms | 11.343 | 2-hydroxyglutaric Acid Tri TMS | 246800000 | 463.951 | --- | 252257
| C15-3M_11-03-1971_2-50-30 AM.xms | 11.341 | 2-hydroxyglutaric Acid Tri TMS | 202100000 | 316.923 | --- | 411213
| C17-3M_11-03-1971_6-23-18 AM.xms | 11.348 | 2-hydroxyglutaric Acid Tri TMS | 336100000 | 656.621 | --- | 605793
| C18-3M_11-03-1971_5-47-50 AM.xms | 11.335 | 2-hydroxyglutaric Acid Tri TMS | 362900000 | 540.279 | --- | 401070
| C19-1M_11-03-1971_11-17-34 PM.xms | 11.339 | 2-hydroxyglutaric Acid Tri TMS | 271400000 | 379.241 | --- | 666989
| C20-1M_11-03-1971_10-42-07 PM.xms | 11.338 | 2-hydroxyglutaric Acid Tri TMS | 274200000 | 371.574 | --- | 192369
| C20-5M_11-03-1971_1-04-00 AM.xms | 11.335 | 2-hydroxyglutaric Acid Tri TMS | 123500000 | 215.335 | --- | 311178
| S11-3M_11-03-1971_6-58-47 AM.xms | 11.315 | 2-hydroxyglutaric Acid Tri TMS | 62850000 | 162.085 | --- | 227700
| S17-1M_11-03-1971_8-55-44 PM.xms | 11.324 | 2-hydroxyglutaric Acid Tri TMS | 170100000 | 194.502 | --- | 231690
| S18-5M_11-03-1971_4-01-23 AM.xms | 11.332 | 2-hydroxyglutaric Acid Tri TMS | 176600000 | 331.197 | --- | 271908
| S18-BL_11-03-1971_12-28-33 AM.xms | 11.32 | 2-hydroxyglutaric Acid Tri TMS | 120200000 | 181.572 | --- | 412664
| S19-5M_11-03-1971_10-06-41 PM.xms | 11.33 | 2-hydroxyglutaric Acid Tri TMS | 231500000 | 339.732 | --- | 585564
| S20-BL_11-03-1971_11-53-03 PM.xms | 11.335 | 2-hydroxyglutaric Acid Tri TMS | 351100000 | 514.058 | --- | 677558
| H2O_11-03-1971_7-09-09 PM.xms | 11.327 | 2-hydroxyglutaric Acid Tri TMS | 779525 | 0.629 | --- | 6417
| MC150_1_11-03-1971_7-44-40 PM.xms | 11.331 | 2-hydroxyglutaric Acid Tri TMS | 14380000 | 4.824 | --- | 33273
| MC150_2_11-03-1971_1-39-30 AM.xms | 11.318 | 2-hydroxyglutaric Acid Tri TMS | 10140000 | 4.581 | --- | 22283
| MC150_3_11-03-1971_7-34-16 AM.xms | 11.326 | 2-hydroxyglutaric Acid Tri TMS | 8637000 | 4.741 | --- | 23589
| 0.5_1_11-03-1971_8-44-22 PM.xms | 6.13 | 2-hydroxyisovaleric Di TMS | 25550000 | 0.356 | 0.5 | 7662
| 0.5_2_11-03-1971_9-19-43 PM.xms | 6.124 | 2-hydroxyisovaleric Di TMS | 22360000 | 0.447 | 0.5 | 8132
| 1_1_11-03-1971_9-55-03 PM.xms | 6.124 | 2-hydroxyisovaleric Di TMS | 33880000 | 0.809 | 1 | 21290
| 1_2_11-03-1971_10-30-25 PM.xms | 6.13 | 2-hydroxyisovaleric Di TMS | 41260000 | 1.265 | 1 | 12365
| 2_1_11-03-1971_11-05-46 PM.xms | 6.121 | 2-hydroxyisovaleric Di TMS | 58730000 | 2.028 | 2 | 33624
| 2_2_11-03-1971_11-41-09 PM.xms | 6.131 | 2-hydroxyisovaleric Di TMS | 75760000 | 2.265 | 2 | 21295
| 5_1_11-03-1971_12-16-31 AM.xms | 6.136 | 2-hydroxyisovaleric Di TMS | 166500000 | 5.148 | 5 | 44238
| 5_2_11-03-1971_12-51-55 AM.xms | 6.137 | 2-hydroxyisovaleric Di TMS | 151100000 | 4.7 | 5 | 23955
| 10_1_11-03-1971_1-27-17 AM.xms | 6.138 | 2-hydroxyisovaleric Di TMS | 326500000 | 11.149 | 10 | 107225
| 10_2_11-03-1971_2-02-39 AM.xms | 6.132 | 2-hydroxyisovaleric Di TMS | 365700000 | 10.792 | 10 | 118690
| 25_1_11-03-1971_3-48-51 AM.xms | 6.144 | 2-hydroxyisovaleric Di TMS | 704100000 | 25.497 | 25 | 178479
| 25_2_11-03-1971_4-24-11 AM.xms | 6.152 | 2-hydroxyisovaleric Di TMS | 738000000 | 23.069 | 25 | 187871
| 50_0.5_1_11-03-1971_4-59-30 AM.xms | 6.087 | 2-hydroxyisovaleric Di TMS | 780200000 | 70.506 | 50 | 247063
| 50_0.5_2_11-03-1971_5-34-52 AM.xms | 6.084 | 2-hydroxyisovaleric Di TMS | 672900000 | 55.823 | 50 | 326772
| 50_1_1_11-03-1971_6-10-14 AM.xms | 6.145 | 2-hydroxyisovaleric Di TMS | 1040000000 | 51.449 | 50 | 154661
| 50_1_2_11-03-1971_6-45-33 AM.xms | 6.156 | 2-hydroxyisovaleric Di TMS | 985000000 | 30.991 | 50 | 133903
| 100_1_11-03-1971_7-20-56 AM.xms | 6.095 | 2-hydroxyisovaleric Di TMS | 1366000000 | 93.905 | 100 | 676548
| 100_2_11-03-1971_7-56-17 AM.xms | 6.089 | 2-hydroxyisovaleric Di TMS | 1240000000 | 98.298 | 100 | 864034
| 150_1_11-03-1971_8-31-38 AM.xms | 6.107 | 2-hydroxyisovaleric Di TMS | 1701000000 | --- | 150 | ---
| 150_2_11-03-1971_9-07-00 AM.xms | 6.108 | 2-hydroxyisovaleric Di TMS | 1678000000 | --- | 150 | ---
| C11-3M_11-03-1971_3-25-55 AM.xms | 6.038 | 2-hydroxyisovaleric Di TMS | 5626000 | 1.108 | --- | 8605
| C12-5M_11-03-1971_4-36-53 AM.xms | 6.046 | 2-hydroxyisovaleric Di TMS | 6072000 | 1.253 | --- | 11631
| C13-3M_11-03-1971_9-31-13 PM.xms | 6.036 | 2-hydroxyisovaleric Di TMS | 7492000 | 1.292 | --- | 5078
| C14-1M_11-03-1971_5-12-22 AM.xms | 6.049 | 2-hydroxyisovaleric Di TMS | 5965000 | 1.789 | --- | 12367
| C15-3M_11-03-1971_2-50-30 AM.xms | 6.045 | 2-hydroxyisovaleric Di TMS | 6280000 | 1.337 | --- | 11337
| C17-3M_11-03-1971_6-23-18 AM.xms | 6.054 | 2-hydroxyisovaleric Di TMS | 6477000 | 1.853 | --- | 18759
| C18-3M_11-03-1971_5-47-50 AM.xms | 6.058 | 2-hydroxyisovaleric Di TMS | 9667000 | 2.173 | --- | 32290
| C19-1M_11-03-1971_11-17-34 PM.xms | 6.035 | 2-hydroxyisovaleric Di TMS | 5503000 | 0.75 | --- | 4976
| C20-1M_11-03-1971_10-42-07 PM.xms | 6.028 | 2-hydroxyisovaleric Di TMS | 4666000 | 0.647 | --- | 4046
| C20-5M_11-03-1971_1-04-00 AM.xms | 6.04 | 2-hydroxyisovaleric Di TMS | 3366000 | 0.848 | --- | 4622
| S11-3M_11-03-1971_6-58-47 AM.xms | 6.048 | 2-hydroxyisovaleric Di TMS | 2626000 | 1.138 | --- | 3839
| S17-1M_11-03-1971_8-55-44 PM.xms | 6.035 | 2-hydroxyisovaleric Di TMS | 5676000 | 0.792 | --- | 8999
| S18-5M_11-03-1971_4-01-23 AM.xms | 6.056 | 2-hydroxyisovaleric Di TMS | 7056000 | 2.509 | --- | 11952
| S18-BL_11-03-1971_12-28-33 AM.xms | 6.038 | 2-hydroxyisovaleric Di TMS | 4674000 | 0.828 | --- | 6446
| S19-5M_11-03-1971_10-06-41 PM.xms | 6.034 | 2-hydroxyisovaleric Di TMS | 5591000 | 1.053 | --- | 6614
| S20-BL_11-03-1971_11-53-03 PM.xms | 6.035 | 2-hydroxyisovaleric Di TMS | 6988000 | 1.05 | --- | 7953
| H2O_11-03-1971_7-09-09 PM.xms | 6.096 | 2-hydroxyisovaleric Di TMS | 2257000 | N/A | --- | 3447
| MC150_1_11-03-1971_7-44-40 PM.xms | 6.107 | 2-hydroxyisovaleric Di TMS | 11680000 | 1.037 | --- | 7650
| MC150_2_11-03-1971_1-39-30 AM.xms | 6.106 | 2-hydroxyisovaleric Di TMS | 9857000 | 1.168 | --- | 7516
| MC150_3_11-03-1971_7-34-16 AM.xms | 6.103 | 2-hydroxyisovaleric Di TMS | 8966000 | 1.246 | --- | 5824
| 0.5_1_11-03-1971_8-44-22 PM.xms | 11.297 | 2-hydroxyphenylacetic Acid Di TMS | 396139 | 0.646 | 0.5 | 1698
| 0.5_2_11-03-1971_9-19-43 PM.xms | 11.283 | 2-hydroxyphenylacetic Acid Di TMS | 314394 | 0.629 | 0.5 | 1860
| 1_1_11-03-1971_9-55-03 PM.xms | 11.291 | 2-hydroxyphenylacetic Acid Di TMS | 653082 | 1.002 | 1 | 3622
| 1_2_11-03-1971_10-30-25 PM.xms | 11.293 | 2-hydroxyphenylacetic Acid Di TMS | 665764 | 1.087 | 1 | 3296
| 2_1_11-03-1971_11-05-46 PM.xms | 11.328 | 2-hydroxyphenylacetic Acid Di TMS | 1485000 | 1.56 | 2 | 9857
| 2_2_11-03-1971_11-41-09 PM.xms | 11.305 | 2-hydroxyphenylacetic Acid Di TMS | 1636000 | 1.65 | 2 | 8938
| 5_1_11-03-1971_12-16-31 AM.xms | 11.311 | 2-hydroxyphenylacetic Acid Di TMS | 4804000 | 3.718 | 5 | 23210
| 5_2_11-03-1971_12-51-55 AM.xms | 11.317 | 2-hydroxyphenylacetic Acid Di TMS | 5083000 | 4.162 | 5 | 25290
| 10_1_11-03-1971_1-27-17 AM.xms | 11.301 | 2-hydroxyphenylacetic Acid Di TMS | 9721000 | 8.338 | 10 | 69147
| 10_2_11-03-1971_2-02-39 AM.xms | 11.301 | 2-hydroxyphenylacetic Acid Di TMS | 10440000 | 8.925 | 10 | 48209
| 25_1_11-03-1971_3-48-51 AM.xms | 11.317 | 2-hydroxyphenylacetic Acid Di TMS | 26610000 | 29.45 | 25 | 106931
| 25_2_11-03-1971_4-24-11 AM.xms | 11.294 | 2-hydroxyphenylacetic Acid Di TMS | 29450000 | 30.844 | 25 | 83698
| 50_0.5_1_11-03-1971_4-59-30 AM.xms | 11.313 | 2-hydroxyphenylacetic Acid Di TMS | 29260000 | 64.194 | 50 | 129841
| 50_0.5_2_11-03-1971_5-34-52 AM.xms | 11.311 | 2-hydroxyphenylacetic Acid Di TMS | 29740000 | 54.68 | 50 | 164337
| 50_1_1_11-03-1971_6-10-14 AM.xms | 11.314 | 2-hydroxyphenylacetic Acid Di TMS | 48200000 | 58.479 | 50 | 165354
| 50_1_2_11-03-1971_6-45-33 AM.xms | 11.327 | 2-hydroxyphenylacetic Acid Di TMS | 55110000 | 40.994 | 50 | 112465
| 100_1_11-03-1971_7-20-56 AM.xms | 11.323 | 2-hydroxyphenylacetic Acid Di TMS | 59250000 | 88.747 | 100 | 170350
| 100_2_11-03-1971_7-56-17 AM.xms | 11.326 | 2-hydroxyphenylacetic Acid Di TMS | 52010000 | 97.068 | 100 | 269102
| 150_1_11-03-1971_8-31-38 AM.xms | 11.345 | 2-hydroxyphenylacetic Acid Di TMS | 68700000 | --- | 150 | ---
| 150_2_11-03-1971_9-07-00 AM.xms | 11.348 | 2-hydroxyphenylacetic Acid Di TMS | 68880000 | --- | 150 | ---
| C11-3M_11-03-1971_3-25-55 AM.xms | 11.283 | 2-hydroxyphenylacetic Acid Di TMS | 302331 | 1.196 | --- | 2811
| C12-5M_11-03-1971_4-36-53 AM.xms | 11.281 | 2-hydroxyphenylacetic Acid Di TMS | 277016 | 1.492 | --- | 2650
| C13-3M_11-03-1971_9-31-13 PM.xms | 11.293 | 2-hydroxyphenylacetic Acid Di TMS | 335726 | 1.224 | --- | 2595
| C14-1M_11-03-1971_5-12-22 AM.xms | 11.288 | 2-hydroxyphenylacetic Acid Di TMS | 262430 | 1.162 | --- | 2797
| C15-3M_11-03-1971_2-50-30 AM.xms | 11.288 | 2-hydroxyphenylacetic Acid Di TMS | 160230 | 0.684 | --- | 1336
| C17-3M_11-03-1971_6-23-18 AM.xms | 11.288 | 2-hydroxyphenylacetic Acid Di TMS | 249858 | 1.179 | --- | 2500
| C18-3M_11-03-1971_5-47-50 AM.xms | 11.278 | 2-hydroxyphenylacetic Acid Di TMS | 259841 | 1.141 | --- | 2216
| C19-1M_11-03-1971_11-17-34 PM.xms | 11.286 | 2-hydroxyphenylacetic Acid Di TMS | 265271 | 1.314 | --- | 1919
| C20-1M_11-03-1971_10-42-07 PM.xms | 11.285 | 2-hydroxyphenylacetic Acid Di TMS | 269817 | 0.809 | --- | 1575
| C20-5M_11-03-1971_1-04-00 AM.xms | 11.286 | 2-hydroxyphenylacetic Acid Di TMS | 133105 | 0.825 | --- | 1344
| S11-3M_11-03-1971_6-58-47 AM.xms | 11.27 | 2-hydroxyphenylacetic Acid Di TMS | 70715 | 0.736 | --- | 901
| S17-1M_11-03-1971_8-55-44 PM.xms | 11.276 | 2-hydroxyphenylacetic Acid Di TMS | 150659 | 0.613 | --- | 1128
| S18-5M_11-03-1971_4-01-23 AM.xms | 11.281 | 2-hydroxyphenylacetic Acid Di TMS | 143830 | 1.159 | --- | 1188
| S18-BL_11-03-1971_12-28-33 AM.xms | 11.273 | 2-hydroxyphenylacetic Acid Di TMS | 97884 | 0.716 | --- | 814
| S19-5M_11-03-1971_10-06-41 PM.xms | 11.281 | 2-hydroxyphenylacetic Acid Di TMS | 208778 | 1.296 | --- | 1704
| S20-BL_11-03-1971_11-53-03 PM.xms | 11.283 | 2-hydroxyphenylacetic Acid Di TMS | 346442 | 1.223 | --- | 3145
| H2O_11-03-1971_7-09-09 PM.xms | 11.234 | 2-hydroxyphenylacetic Acid Di TMS | 2479 | --- | --- | ---
| MC150_1_11-03-1971_7-44-40 PM.xms | 11.29 | 2-hydroxyphenylacetic Acid Di TMS | 203845 | 0.493 | --- | 1321
| MC150_2_11-03-1971_1-39-30 AM.xms | 11.281 | 2-hydroxyphenylacetic Acid Di TMS | 144869 | 0.483 | --- | 825
| MC150_3_11-03-1971_7-34-16 AM.xms | 11.286 | 2-hydroxyphenylacetic Acid Di TMS | 126834 | 0.485 | --- | 866
| 0.5_1_11-03-1971_8-44-22 PM.xms | 16.248 | 2-ketoadipic acid-PFBH-TMS | 15744 | 1.457 | 0.5 | 785
| 0.5_2_11-03-1971_9-19-43 PM.xms | 16.361 | 2-ketoadipic acid-PFBH-TMS | 4019 | 1.415 | 0.5 | 201
| 1_1_11-03-1971_9-55-03 PM.xms | 16.34 | 2-ketoadipic acid-PFBH-TMS | 13298 | 1.462 | 1 | 1164
| 1_2_11-03-1971_10-30-25 PM.xms | 16.349 | 2-ketoadipic acid-PFBH-TMS | 11401 | 1.453 | 1 | 1214
| 2_1_11-03-1971_11-05-46 PM.xms | 16.345 | 2-ketoadipic acid-PFBH-TMS | 19472 | 1.5 | 2 | 2586
| 2_2_11-03-1971_11-41-09 PM.xms | 16.42 | 2-ketoadipic acid-PFBH-TMS | 20696 | 1.493 | 2 | 1148
| 5_1_11-03-1971_12-16-31 AM.xms | 16.311 | 2-ketoadipic acid-PFBH-TMS | 108998 | 1.895 | 5 | 4810
| 5_2_11-03-1971_12-51-55 AM.xms | 16.289 | 2-ketoadipic acid-PFBH-TMS | 253403 | 2.451 | 5 | 15293
| 10_1_11-03-1971_1-27-17 AM.xms | 16.346 | 2-ketoadipic acid-PFBH-TMS | 199003 | 2.613 | 10 | 10319
| 10_2_11-03-1971_2-02-39 AM.xms | 16.332 | 2-ketoadipic acid-PFBH-TMS | 701192 | 4.919 | 10 | 48235
| 25_1_11-03-1971_3-48-51 AM.xms | 16.231 | 2-ketoadipic acid-PFBH-TMS | 830725 | 6.304 | 25 | 33755
| 25_2_11-03-1971_4-24-11 AM.xms | 16.368 | 2-ketoadipic acid-PFBH-TMS | 810847 | 6.039 | 25 | 21518
| 50_0.5_1_11-03-1971_4-59-30 AM.xms | 16.412 | 2-ketoadipic acid-PFBH-TMS | 994066 | 14.97 | 50 | 43138
| 50_0.5_2_11-03-1971_5-34-52 AM.xms | 16.335 | 2-ketoadipic acid-PFBH-TMS | 1822000 | 25.439 | 50 | 121525
| 50_1_1_11-03-1971_6-10-14 AM.xms | 16.345 | 2-ketoadipic acid-PFBH-TMS | 1099000 | 11.91 | 50 | 42547
| 50_1_2_11-03-1971_6-45-33 AM.xms | 16.426 | 2-ketoadipic acid-PFBH-TMS | 7052000 | 47.484 | 50 | 174741
| 100_1_11-03-1971_7-20-56 AM.xms | 16.354 | 2-ketoadipic acid-PFBH-TMS | 6789000 | 104.259 | 100 | 416458
| 100_2_11-03-1971_7-56-17 AM.xms | 16.305 | 2-ketoadipic acid-PFBH-TMS | 2578000 | 50.912 | 100 | 96908
| 150_1_11-03-1971_8-31-38 AM.xms | 16.366 | 2-ketoadipic acid-PFBH-TMS | 12380000 | 197.307 | 150 | 399181
| 150_2_11-03-1971_9-07-00 AM.xms | 16.38 | 2-ketoadipic acid-PFBH-TMS | 11980000 | 198.009 | 150 | 375485
| C11-3M_11-03-1971_3-25-55 AM.xms | 16.332 | 2-ketoadipic acid-PFBH-TMS | 5634000 | 242.989 | --- | 149720
| C12-5M_11-03-1971_4-36-53 AM.xms | 16.358 | 2-ketoadipic acid-PFBH-TMS | 3993000 | 179.628 | --- | 132649
| C13-3M_11-03-1971_9-31-13 PM.xms | 16.38 | 2-ketoadipic acid-PFBH-TMS | 3947000 | 196.14 | --- | 145783
| C14-1M_11-03-1971_5-12-22 AM.xms | 16.305 | 2-ketoadipic acid-PFBH-TMS | 1614000 | 103.721 | --- | 69015
| C15-3M_11-03-1971_2-50-30 AM.xms | 16.326 | 2-ketoadipic acid-PFBH-TMS | 2748000 | 125.091 | --- | 147976
| C17-3M_11-03-1971_6-23-18 AM.xms | 16.321 | 2-ketoadipic acid-PFBH-TMS | 6870000 | 336.705 | --- | 225030
| C18-3M_11-03-1971_5-47-50 AM.xms | 16.359 | 2-ketoadipic acid-PFBH-TMS | 7363000 | 307.23 | --- | 227286
| C19-1M_11-03-1971_11-17-34 PM.xms | 16.305 | 2-ketoadipic acid-PFBH-TMS | 4341000 | 180.717 | --- | 276585
| C20-1M_11-03-1971_10-42-07 PM.xms | 16.355 | 2-ketoadipic acid-PFBH-TMS | 4858000 | 224.968 | --- | 180003
| C20-5M_11-03-1971_1-04-00 AM.xms | 16.341 | 2-ketoadipic acid-PFBH-TMS | 1521000 | 91.795 | --- | 204614
| S11-3M_11-03-1971_6-58-47 AM.xms | 16.289 | 2-ketoadipic acid-PFBH-TMS | 595687 | 44.754 | --- | 44184
| S17-1M_11-03-1971_8-55-44 PM.xms | 16.38 | 2-ketoadipic acid-PFBH-TMS | 3884000 | 172.344 | --- | 163423
| S18-5M_11-03-1971_4-01-23 AM.xms | 16.262 | 2-ketoadipic acid-PFBH-TMS | 2543000 | 140.305 | --- | 117954
| S18-BL_11-03-1971_12-28-33 AM.xms | 16.349 | 2-ketoadipic acid-PFBH-TMS | 2279000 | 99.559 | --- | 121842
| S19-5M_11-03-1971_10-06-41 PM.xms | 16.267 | 2-ketoadipic acid-PFBH-TMS | 2843000 | 119.897 | --- | 76342
| S20-BL_11-03-1971_11-53-03 PM.xms | 16.26 | 2-ketoadipic acid-PFBH-TMS | 5041000 | 206.467 | --- | 95906
| H2O_11-03-1971_7-09-09 PM.xms | 16.38 | 2-ketoadipic acid-PFBH-TMS | 0 | --- | --- | ---
| MC150_1_11-03-1971_7-44-40 PM.xms | 16.331 | 2-ketoadipic acid-PFBH-TMS | 4234 | 1.464 | --- | 177
| MC150_2_11-03-1971_1-39-30 AM.xms | 16.337 | 2-ketoadipic acid-PFBH-TMS | 3141 | 1.451 | --- | 153
| MC150_3_11-03-1971_7-34-16 AM.xms | 16.333 | 2-ketoadipic acid-PFBH-TMS | 3607 | 1.471 | --- | 205
| 0.5_1_11-03-1971_8-44-22 PM.xms | 15.452 | 2-ketoglutaric Acid pfbo-TMS 01 | 31617 | 1.266 | 0.5 | 3840
| 0.5_2_11-03-1971_9-19-43 PM.xms | 15.436 | 2-ketoglutaric Acid pfbo-TMS 01 | 13629 | 1.249 | 0.5 | 9044
| 1_1_11-03-1971_9-55-03 PM.xms | 15.525 | 2-ketoglutaric Acid pfbo-TMS 01 | 31434 | 1.277 | 1 | 3753
| 1_2_11-03-1971_10-30-25 PM.xms | 15.482 | 2-ketoglutaric Acid pfbo-TMS 01 | 25833 | 1.268 | 1 | 5266
| 2_1_11-03-1971_11-05-46 PM.xms | 15.528 | 2-ketoglutaric Acid pfbo-TMS 01 | 43109 | 1.3 | 2 | 7041
| 2_2_11-03-1971_11-41-09 PM.xms | 15.471 | 2-ketoglutaric Acid pfbo-TMS 01 | 60076 | 1.318 | 2 | 10542
| 5_1_11-03-1971_12-16-31 AM.xms | 15.478 | 2-ketoglutaric Acid pfbo-TMS 01 | 176189 | 1.484 | 5 | 10777
| 5_2_11-03-1971_12-51-55 AM.xms | 15.516 | 2-ketoglutaric Acid pfbo-TMS 01 | 455101 | 1.833 | 5 | 53698
| 10_1_11-03-1971_1-27-17 AM.xms | 15.529 | 2-ketoglutaric Acid pfbo-TMS 01 | 468093 | 2.144 | 10 | 64689
| 10_2_11-03-1971_2-02-39 AM.xms | 15.514 | 2-ketoglutaric Acid pfbo-TMS 01 | 1610000 | 3.819 | 10 | 198166
| 25_1_11-03-1971_3-48-51 AM.xms | 15.505 | 2-ketoglutaric Acid pfbo-TMS 01 | 2212000 | 5.414 | 25 | 94201
| 25_2_11-03-1971_4-24-11 AM.xms | 15.58 | 2-ketoglutaric Acid pfbo-TMS 01 | 3887000 | 8.362 | 25 | 142789
| 50_0.5_1_11-03-1971_4-59-30 AM.xms | 15.511 | 2-ketoglutaric Acid pfbo-TMS 01 | 5422000 | 24.953 | 50 | 252702
| 50_0.5_2_11-03-1971_5-34-52 AM.xms | 15.524 | 2-ketoglutaric Acid pfbo-TMS 01 | 5983000 | 26.529 | 50 | 235179
| 50_1_1_11-03-1971_6-10-14 AM.xms | 15.54 | 2-ketoglutaric Acid pfbo-TMS 01 | 5436000 | 17.899 | 50 | 347127
| 50_1_2_11-03-1971_6-45-33 AM.xms | 15.598 | 2-ketoglutaric Acid pfbo-TMS 01 | 22490000 | 48.32 | 50 | 472750
| 100_1_11-03-1971_7-20-56 AM.xms | 15.498 | 2-ketoglutaric Acid pfbo-TMS 01 | 22820000 | 112.014 | 100 | 1072275
| 100_2_11-03-1971_7-56-17 AM.xms | 15.474 | 2-ketoglutaric Acid pfbo-TMS 01 | 7164000 | 45.317 | 100 | 488284
| 150_1_11-03-1971_8-31-38 AM.xms | 15.56 | 2-ketoglutaric Acid pfbo-TMS 01 | 32020000 | 163.531 | 150 | 809862
| 150_2_11-03-1971_9-07-00 AM.xms | 15.608 | 2-ketoglutaric Acid pfbo-TMS 01 | 30050000 | 159.209 | 150 | 943737
| C11-3M_11-03-1971_3-25-55 AM.xms | 15.559 | 2-ketoglutaric Acid pfbo-TMS 01 | 160700000 | 2209.886 | --- | 1064463
| C12-5M_11-03-1971_4-36-53 AM.xms | 15.569 | 2-ketoglutaric Acid pfbo-TMS 01 | 259200000 | 3708.015 | --- | 561337
| C13-3M_11-03-1971_9-31-13 PM.xms | 15.578 | 2-ketoglutaric Acid pfbo-TMS 01 | 216600000 | 3425.062 | --- | 819144
| C14-1M_11-03-1971_5-12-22 AM.xms | 15.534 | 2-ketoglutaric Acid pfbo-TMS 01 | 82110000 | 1669.419 | --- | 1698780
| C15-3M_11-03-1971_2-50-30 AM.xms | 15.49 | 2-ketoglutaric Acid pfbo-TMS 01 | 135100000 | 1949.719 | --- | 1360025
| C17-3M_11-03-1971_6-23-18 AM.xms | 15.562 | 2-ketoglutaric Acid pfbo-TMS 01 | 179400000 | 2806.159 | --- | 544606
| C18-3M_11-03-1971_5-47-50 AM.xms | 15.562 | 2-ketoglutaric Acid pfbo-TMS 01 | 237800000 | 3166.132 | --- | 613150
| C19-1M_11-03-1971_11-17-34 PM.xms | 15.583 | 2-ketoglutaric Acid pfbo-TMS 01 | 185800000 | 2460.746 | --- | 869177
| C20-1M_11-03-1971_10-42-07 PM.xms | 15.534 | 2-ketoglutaric Acid pfbo-TMS 01 | 206900000 | 3051.55 | --- | 1291617
| C20-5M_11-03-1971_1-04-00 AM.xms | 15.593 | 2-ketoglutaric Acid pfbo-TMS 01 | 117300000 | 2235.321 | --- | 1500851
| S11-3M_11-03-1971_6-58-47 AM.xms | 15.515 | 2-ketoglutaric Acid pfbo-TMS 01 | 57070000 | 1332.321 | --- | 1750517
| S17-1M_11-03-1971_8-55-44 PM.xms | 15.637 | 2-ketoglutaric Acid pfbo-TMS 01 | 269300000 | 3798.821 | --- | 378356
| S18-5M_11-03-1971_4-01-23 AM.xms | 15.579 | 2-ketoglutaric Acid pfbo-TMS 01 | 188900000 | 3307.066 | --- | 578221
| S18-BL_11-03-1971_12-28-33 AM.xms | 15.526 | 2-ketoglutaric Acid pfbo-TMS 01 | 173400000 | 2393.373 | --- | 1089582
| S19-5M_11-03-1971_10-06-41 PM.xms | 15.46 | 2-ketoglutaric Acid pfbo-TMS 01 | 157500000 | 2104.252 | --- | 34577
| S20-BL_11-03-1971_11-53-03 PM.xms | 15.491 | 2-ketoglutaric Acid pfbo-TMS 01 | 137200000 | 1789.684 | --- | 418873
| H2O_11-03-1971_7-09-09 PM.xms | 15.446 | 2-ketoglutaric Acid pfbo-TMS 01 | 5884 | 1.247 | --- | 1510721
| MC150_1_11-03-1971_7-44-40 PM.xms | 15.513 | 2-ketoglutaric Acid pfbo-TMS 01 | 482544 | 3.873 | --- | 100168
| MC150_2_11-03-1971_1-39-30 AM.xms | 15.503 | 2-ketoglutaric Acid pfbo-TMS 01 | 406987 | 3.677 | --- | 47603
| MC150_3_11-03-1971_7-34-16 AM.xms | 15.505 | 2-ketoglutaric Acid pfbo-TMS 01 | 389411 | 3.988 | --- | 83353